ВОДОПОДГОТОВКА

УДК 628.16.081.3:351.777.6

Лебедь-Шарлевич Я. И., Беляева Н. И., Мамонов Р. А., Печникова И. А., Харчевникова Н. В., Хохряков А. А., Жолдакова З. И. Санитарно-эпидемиологическая безопасность и эффективность кремнеуглеродного сорбента для очистки воды от нефти и нефтепродуктов 4

Я. И. ЛЕБЕДЬ-ШАРЛЕВИЧ1, Н. И. БЕЛЯЕВА2, Р. А. МАМОНОВ3, И. А. ПЕЧНИКОВА4, Н. В. ХАРЧЕВНИКОВА5, А. А. ХОХРЯКОВ6, З. И. ЖОЛДАКОВА7

### 1 Лебедь-Шарлевич Яна Ивановна, кандидат биологических наук, старший научный сотрудник, Центр стратегического планирования и управления медико-биологическими рисками здоровью Минздрава России

119121, Россия, Москва, Погодинская ул., 10, стр. 1, тел.: (499) 246-71-73, e-mail: labtox430@mail.ru

2 Беляева Надежда Игоревна, кандидат биологических наук, старший научный сотрудник, Центр стратегического планирования и управления медико-биологическими рисками здоровью Минздрава России

119121, Россия, Москва, Погодинская ул., 10, стр. 1, тел.: (499) 246-71-73, e-mail: nadinai@mail.ru

3 Мамонов Роман Александрович, кандидат медицинских наук, заведующий лабораторией, Центр стратегического планирования и управления медико-биологическими рисками здоровью Минздрава России

119121, Россия, Москва, Погодинская ул., 10, стр. 1, тел.: (499) 246-71-73, e-mail: labtox430@mail.ru

4 Печникова Ирина Александровна, кандидат медицинских наук, ведущий научный сотрудник, Центр стратегического планирования и управления медико-биологическими рисками здоровью Минздрава России

119121, Россия, Москва, Погодинская ул., 10, стр. 1, тел.: (499) 246-71-73, e-mail: labtox430@mail.ru

5 Харчевникова Нина Вениаминовна, доктор биологических наук, ведущий научный сотрудник, Центр стратегического планирования и управления медико-биологическими рисками здоровью Минздрава России

119121, Россия, Москва, Погодинская ул., 10, стр. 1, тел.: (499) 246-71-73, e-mail: labtox430@mail.ru

6 Хохряков Александр Александрович, ООО «Химинжиниринг»

141100, Московская область, г. Щелково, Заводская ул., 2, тел.: (916) 207-17-26, e-mail: khaa2@yandex.ru

7 Жолдакова Зоя Ильинична, доктор медицинских наук, профессор, ведущий научный сотрудник, Центр стратегического планирования и управления медико-биологическими рисками здоровью Минздрава России

119121, Россия, Москва, Погодинская ул., 10, стр. 1, тел.: (499) 246-71-73, e-mail: labtox430@mail.ru

СПИСОК ЛИТЕРАТУРЫ

- Глазовская М. А., Пиковский Ю. И. Скорость самоочищения почв от нефти в различных природных зонах // Природа. 1980. № 5. С. 118–119.

- Федоров Ю. А., Страдомская А. Г., Кузнецов А. Н. Закономерности трансформации нефтяного загрязнения в водотоках по данным многолетних наблюдений // Водные ресурсы. 2006. Т. 33. № 3. С. 327–337.

- Водянова М. А., Ушакова О. В., Ингель Ф. И. Влияние нефтяных углеводородов на взаимодействие микроорганизмов почвы с окружающей средой: Материалы VI Всероссийской конференции молодых ученых «Стратегия взаимодействия микроорганизмов и растений с окружающей средой». – Саратов, 2012. С. 94.

- Никитина И. Э., Абдрахманов Н. Х., Никитина С. А. Борьба с нефтяным загрязнением гидросферы сорбентом при авариях на предприятиях нефтедобывающей промышленности и трубопроводного транспорта // Защита окружающей среды в нефтегазовом комплексе. 2015. № 6. С. 14–17.

- Лапушова Л. А., Вишняков А. Н., Сентюрова М. В., Демьянова Н. А. Результаты флуоресцентного метода определения токсичности вод, очищенных полимерным сорбентом «Униполимер-М» от нефтяных загрязнений // Защита окружающей среды в нефтегазовом комплексе. 2015. № 4. С. 22–26.

- Weigle W. O., Cochrane C. G., Dixon F. J. Anaphylactogenic properties of soluble antigen-antibody complexes in the guinea pig and rabbit // Journal of Immunology. 1960. V. 85. № 5. Р. 469–477.

WATER TREATMENT

Lebed’-Sharlevich Ia. I., Beliaeva N. I., Mamonov R. A., Pechnikova I. A., Kharchevnikova N. V., Khokhriakov A. A., Zholdakova Z. I. Sanitary and epidemiological safety and efficiency of silicocarbonic sorbent used for removing oil and oil products from water 4

Ia. I. LEBED’-SHARLEVICH1, N. I. BELIAEVA2, R. A. MAMONOV3, I. A. PECHNIKOVA4, N. V. KHARCHEVNIKOVA5, A. A. KHOKHRIAKOV6, Z. I. ZHOLDAKOVA7

### 1 Lebed’-Sharlevich Iana Ivanovna, Ph. D. (Biology), Senior Research Scientist, Centre of Strategic Planning and Control of Medical and Biological Health Risks, Ministry of Health of the Russian Federation

Build. 1, 10 Pogodinskaia St., 119121, Moscow, Russian Federation, tel.: +7 (499) 246-71-73, e-mail: labtox430@mail.ru

### 2 Beliaeva Nadezhda Igorevna, Ph. D. (Biology), Senior Research Scientist, Centre of Strategic Planning and Control of Medical and Biological Health Risks, Ministry of Health of the Russian Federation

Build. 1, 10 Pogodinskaia St., 119121, Moscow, Russian Federation, tel.: +7 (499) 246-71-73, e-mail: nadinai@mail.ru

### 3 Mamonov Roman Aleksandrovich, Ph. D. (Medicine), Head of Laboratory, Centre of Strategic Planning and Control of Medical and Biological Health Risks, Ministry of Health of the Russian Federation

Build. 1, 10 Pogodinskaia St., 119121, Moscow, Russian Federation, tel.: +7 (499) 246-71-73, e-mail: labtox430@mail.ru

### 4 Pechnikova Irina Aleksandrovna, Ph. D. (Medicine), Leading Scientific Worker, Centre of Strategic Planning and Control of Medical and Biological Health Risks, Ministry of Health of the Russian Federation

Build. 1, 10 Pogodinskaia St., 119121, Moscow, Russian Federation, tel.: +7 (499) 246-71-73, e-mail: labtox430@mail.ru

### 5 Kharchevnikova Nina Veniaminovna, Doctor of Biology, Leading Scientific Worker, Centre of Strategic Planning and Control of Medical and Biological Health Risks, Ministry of Health of the Russian Federation

Build. 1, 10 Pogodinskaia St., 119121, Moscow, Russian Federation, tel.: + 7 (499) 246-71-73, e-mail: labtox430@mail.ru

6 Khokhriakov Aleksandr Aleksandrovich, «Khiminzhiniring» LLC

2 Zavodskaia St., 141100, Shchelkovo, Moscow Area, Russian Federation, tel.: +7 (916) 207-17-26, e-mail: khaa2@yandex.ru

### 7 Zholdakova Zoia Il’inichna, Doctor of Medicine, Professor, Leading Scientific Worker, Centre of Strategic Planning and Control of Medical and Biological Health Risks, Ministry of Health of the Russian Federation

Build. 1, 10 Pogodinskaia St., 119121, Moscow, Russian Federation, tel.: +7 (499) 246-71-73, e-mail: labtox430@mail.ru

The results of research for the sanitary and epidemiological evaluation and determination of the efficiency of using TSHR silicocarbonic sorbent manufactured by «Khiminzhiniring» LLC for removing oil and oil products from water are presented. Sorption methods based on the physical and chemical interaction of oil with solid oil absorbing material – sorbent efficiently remove oil from the surface of water bodies. The use of sorbent can be combined with mechanical methods of oil spill skimming and biological methods of decomposition of oil collected from the sorbent surface. The investigated TSHR silicocarbonic sorbent is a product of special thermal destruction of rice husk; it appears as «carbon –silicon dioxide» finely dispersed binary solid structure. With the use of chemico-analytical and toxicological methods the sorbent safety related to toxic and allergic action was studied as well as its capability to remove oil components and inorganic substances from water. Sorption methods based on physical and chemical interaction of oil with solid oil absorbing material – sorbent proved to be efficient in removing oil from the surface of water bodies. The use of sorbents can be combined with mechanical methods of oil spill skimming and biological methods of decomposition of oil collected from the sorbent surface. As a result of studies it was stated that TSHR sorbent met the sanitary and epidemiological requirements. The model tests revealed the sorbent efficiency in removing phenol, methylnaphthalene, chloroform, ethanol and inorganic compounds. It proves the possibility of using TSHR sorbent not only for removing oil from water in water bodies but also for water purification for drinking and other purposes. The necessity of carrying out additional field studies to determine wider range of dissolved oil components and the efficiency of sorbent use for removing oil film and dissolved substances is stated.

Key words: oil and oil products, sorbent, purification efficiency, sanitary and epidemiological safety, water treatment.

REFERENCES

- Glazovskaia M. A., Pikovskii Iu. I. [Soil self-cleaning velocity from oil in different natural zones]. Priroda, 1980, no. 5, pp. 118–119. (In Russian).

- Fedorov Iu. A., Stradomskaia A. G., Kuznetsov A. N. [Regularities of oil pollution transformation in water streams according to the long-term data]. Vodnye Resursy, 2006, v. 33, no. 3, pp. 327–337. (In Russian).

- Vodianova M. A., Ushakova O. V., Ingel’ F. I. [Effect of oil hydrocarbons on the interaction of soil microorganisms with the environment]. Proceedings of «Strategy of interaction of microorganisms and plants with the environment» VI All-Russia Young Professionals Conference. Saratov, 2012, p. 94. (In Russian).

- Nikitina I. E., Abdrakhmanov N. Kh., Nikitina S. A. [Elimination of hydrosphere oil pollution with sorbent in case of accidents at oil producing and pipeline transport plants]. Zashchita Okruzhaiushchei Sredy v Neftegazovom Komplekse, 2015, no. 6, pp. 14–17. (In Russian).

- Lapushova L. A., Vishniakov A. N., Sentiurova M. V., Dem’ianova N. A. [Results of fluorescence method of determining the toxicity of water after oil pollution elimination with «Unipolimer-M» polymer sorbent]. Zashchita Okruzhaiushchei Sredy v Neftegazovom Komplekse, 2015, no. 4, pp. 22–26. (In Russian).

- Weigle W. O., Cochrane C. G., Dixon F. J. Anaphylactogenic properties of soluble antigen-antibody complexes in the guinea pig and rabbit. Journal of Immunology, 1960, v. 85, no. 5, pp. 469–477.

- УДК 628.166:661.417/.418

- Фесенко Л. Н., Пчельников И. В., Териков А. С., Нгуен Тхи Туан Зьеп. Исследование влияния концентрации хлоридов на образование активного хлора при прямом электролизе 10

- Л. Н. ФЕСЕНКО1, И. В. ПЧЕЛЬНИКОВ2, А. С. ТЕРИКОВ3, НГУЕН ТХИ ТУАН ЗЬЕП4

1 Фесенко Лев Николаевич, доктор технических наук, профессор кафедры «Водное хозяйство, инженерные сети и защита окружающей среды», Южно-Российский государственный политехнический университет (НПИ) имени М. И. Платова

346428, Россия, Ростовская область, г. Новочеркасск, ул. Просвещения, 132, тел.: (8635) 25-53-34, e-mail: 65613@mail.ru

2 Пчельников Игорь Викторович, кандидат технических наук, старший преподаватель кафедры «Водное хозяйство, инженерные сети и защита окружающей среды», Южно-Российский государственный политехнический университет (НПИ) имени М. И. Платова

346428, Россия, Ростовская область, г. Новочеркасск, ул. Просвещения, 132, тел.: (8635) 25-53-34, e-mail: pchelnikov.igor@mail.ru

3 Териков Алексей Сергеевич, магистр, Южно-Российский государственный политехнический университет (НПИ) имени М. И. Платова

346428, Россия, Ростовская область, г.Новочеркасск, ул. Просвещения, 132, тел.: (8635) 26-56-13, e-mail: 65613@mail.ru

4 Нгуен Тхи Туан Зьеп, аспирант, Южно-Российский государственный политехнический университет (НПИ) имени М. И. Платова

346428, Россия, Ростовская область, г.Новочеркасск, ул. Просвещения, 132, тел.: (8635) 26-56-13, e-mail: 65613@mail.ru

Электрохимический гипохлорит натрия все чаще используется в процессах водоподготовки на объектах водоснабжения и водоотведения. В качестве сырья для его получения можно использовать природные воды, содержащие хлориды. Приведены результаты исследования электролиза низкоминерализованной воды с концентрацией хлоридов 25, 50 и 100 мг/дм3. Модельный раствор получен путем растворения в дистиллированной воде поваренной соли марки «Экстра». Опыты проводили в интервале значений плотности тока от 10 до 500 А/м2. С увеличением продолжительности электролиза концентрация активного хлора возрастает. Установлено, что при заданных значениях анодной плотности тока можно получить активный хлор различной концентрации, например до 220 мг/дм3, при плотности тока 100 А/м2 и содержании хлоридов 100 мг/дм3. Особенностью процесса является превышение количества образовавшегося активного хлора над стехиометрическим содержанием хлоридов в обрабатываемой воде до 1,7–1,9 раза, что, вероятно, вызвано образованием других окислителей, например перекиси водорода. При плотности тока до 500 А/м2 с увеличением продолжительности электролиза выход активного хлора уменьшается. По результатам проведенных исследований предложена номограмма для определения выхода активного хлора по току в зависимости от концентрации хлоридов в растворе и рекомендуемой плотности тока.

Ключевые слова: подземные и поверхностные воды, прямой электролиз воды, гипохлорит натрия, хлориды, окислители, плотность тока.

- СПИСОК ЛИТЕРАТУРЫ

- Соколов В. Д., Соколов Д. В. Опыт использования технического гипохлорита натрия для обеззараживания питьевой воды в системе водоснабжения г. Кемерово: Материалы IV Международной научно-практической конференции «Технологии очистки воды – «ТЕХНОВОД–2008», г. Калуга, 26–29 февраля 2008 г. – Новочеркасск: Оникс+, 2008. С. 61–65.

- Фесенко Л. Н., Денисов В. В., Скрябин А. Ю. Дезинфектант воды – гипохлорит натрия: производство, применение, экономика и экология. – Ростов-на-Дону: Издательство Северо-Кавказского научного центра высшей школы Южного федерального университета, 2012. С. 9–66.

- Фесенко Л. Н., Игнатенко С. И., Кудрявцев С. В. Опыт эксплуатации электролизных установок для получения гипохлорита натрия // Водоснабжение и санитарная техника. 2007. № 1. С. 25–32.

- Бахир В. М. Обеззараживание воды: проблемы и решения // Вода Magazine. 2008. № 5. С. 36–40.

- Медриш Г. Л., Тейшева А. А., Басин Д. Л. Обеззараживание природных и сточных вод с использованием электролизера. – М.: Стройиздат, 1982. 80 с.

- Басин Д. Л. Исследование технологии и разработка аппаратуры для обеззараживания питьевой воды прямым электролизом: Дисс. … канд. техн. наук. – М., 1978. 140 с.

- Бреус С. А., Скрябин А. Ю., Фесенко Л. Н. Разработка технологии очистки природной воды для питьевых целей на период чрезвычайных ситуаций: производство активного хлора электролизом воды // Инженерный вестник Дона. 2016. № 2. URL: ivdon.ru/magazine/archive/n2y2016/3655 (дата обращения 12.04.2017).

- Пчельников И. В., Фесенко Л. Н., Игнатенко С. И., Териков А. С. Получение гипохлорита натрия прямым электролизом низкоминерализованной воды: Материалы Х Международной научно-практической конференции «Технологии очистки воды – «ТЕХНОВОД–2017», г. Астрахань, 5–6 октября 2017 г. – Новочеркасск: Лик, 2017. С. 73–77.

- Пат. 2500625, РФ. МПК C02F 1/467. Cпособ электрохимической обработки воды и устройство / Бражкин В. С., Куприков Н. П., Журавков О. А. // Изобретения. Полезные модели. 2013. № 35.

- Fesenko L. N., Pchel’nikov I. V., Terikov A. S., Nguen Tkhi Tuan Z’ep. Study of chloride concentration effect on the generation of active chlorine in direct electrolysis 10

- L. N. FESENKO1, I. V. PCHEL’NIKOV2, A. S. TERIKOV3, NGUEN TKHI TUAN Z’EP4

1 Fesenko Lev Nikolaevich, Doctor of Engineering, Professor, «Water Industry, Utility Systems and Environmental Protection» Department, Platov South-Russian State Polytechnic University

132 Prosveshcheniia St., 346428, Novocherkassk, Rostov Area, Russian Federation, tel.: +7 (8635) 25-53-34, e-mail: 65613@mail.ru

2 Pchel’nikov Igor Viktorovich, Ph. D. (Engineering), Senior Lecturer, «Water Industry, Utility Systems and Environmental Protection» Department, Platov South-Russian State Polytechnic University

132 Prosveshcheniia St., 346428, Novocherkassk, Rostov Area, Russian Federation, tel.: +7 (8635) 25-53-34, e-mail: pchelnikov.igor@mail.ru

3 Terikov Aleksei Sergeevich, Master Degree, Platov South-Russian State Polytechnic University

132 Prosveshcheniia St., 346428, Novocherkassk, Rostov Area, Russian Federation, tel.: +7 (8635) 26-56-13, e-mail: 65613@mail.ru

4 Nguen Tkhi Tuan Z’ep, Ph. D. Candidate, Platov South-Russian State Polytechnic University

132 Prosveshcheniia St., 346428, Novocherkassk, Rostov Area, Russian Federation, tel.: +7 (8635) 26-56-13, e-mail: 65613@mail.ru

Electrochemical sodium hypochlorite has been most often used in water treatment at the water and wastewater treatment facilities. Natural water containing chlorides can be used as raw material for its production. The results of studies of electrolysis of low mineralized water with 25, 50 and 100 mg/dm3 chloride concentration are presented. The simulated solution was prepared by «Ekstra» table salt dilution in distilled water. The tests were carried out within 10–500 A/m2 current density range. The concentration of active chlorine is increasing alongside with the electrolysis time. It is stated that at the preset values of anodic current density active chlorine of different concentrations can be obtained, e. g. up to 220 mg/dm3 at 100 A/m2 current density and 100 mg/dm3 chloride concentration. The process is notable for the amount of generated active chlorine exceeding the stoichiometric chloride concentration in water in process up to 1.7–1.9 times; this can be caused by the formation of other oxidants, e. g. hydrogen peroxide. At the current density less than 500 A/m2 the output of active chlorine decreases. According to the experimental results a nomogram for determining the active chlorine current yield depending on the chlorine concentration in the solution and current density is proposed.

Key words: underground and surface water, direct water electrolysis, sodium hypochlorite, chlorides, oxidants, current density.

- REFERENCES

- Sokolov V. D., Sokolov D. V. [The experience of using commercial sodium hypochlorite for drinking water disinfection in the Kemerovo water supply system]. Proceedings of «Water treatment technologies» IV International Scientific-Practical Conference – «TEKHNOVOD–2008», Kaluga, February 26–29, 2008. Novocherkassk, Oniks+ Publ., 2008, pp. 61–65. (In Russian).

- Fesenko L. N., Denisov V. V., Skriabin A. Iu. Dezinfektant vody – gipokhlorit natriya: proizvodstvo, primenenie, ekonomika i ekologiya [Disinfectant for water – sodium hypochlorite: production, application, economics and ecology. Rostov-on-Don, Publishing House of the North Caucasian Scientific Centre of the Higher School of the Southern Federal University, 2012, pp. 9–66].

- Fesenko L. N., Ignatenko S. I., Kudriavtsev S. V. [Experience of operating electrolysis plants for sodium hypochlorite production]. Vodosnabzhenie i Sanitarnaia Tekhnika, 2007, no. 1, pp. 25–32. (In Russian).

- Bakhir V. M. [Water disinfection: problems and solutions]. Voda Magazine, 2008, no. 5, pp. 36–40. (In Russian).

- Medrish G. L., Teisheva A. A., Basin D. L. Obezzarazhivanie prirodnykh i stochnykh vod s ispol'zovaniem elektrolizera [Disinfection of natural and waste water with the use of an electrolyzer. Moscow, Stroiizdat Publ., 1982, 80 p.].

- Basin D. L. Issledovanie tekhnologii i razrabotka apparatury dlya obezzarazhivaniya pit'evoy vody pryamym elektrolizom [Study of the technology and designing the equipment for drinking water disinfection with direct electrolysis. Ph. D. thesis in Engineering Science. Moscow, 1978, 140 p.].

- Breus S. A., Skriabin A. Iu., Fesenko L. N. [Developing the technology of natural water purification in emergency situations: production of active chlorine by water electrolysis]. Inzhenernyy Vestnik Dona, 2016, no. 2. ivdon.ru/magazine/archive/n2y2016/3655 (accessed 12.04.2017). (In Russian).

- Pchel’nikov I. V., Fesenko L. N., Ignatenko S. I., Terikov A. S. [Production of sodium hypochlorite by direct electrolysis of low mineralized water]. Proceedings of «Water treatment technologies» X International Scientific-Practical Conference – «TEKHNOVOD–2017». Astrakhan, October 4–6, 2017. Novocherkassk, Lik Publ., 2017, pp. 73–77. (In Russian).

- Brazhkin V. S., Kuprikov N. P., Zhuravkov O. A. [Pat. 2500625, RF. IPC C02F 1/467. Method of electro-chemical water processing and device]. Izobreteniia. Poleznye Modeli, 2013, no. 35. (In Russian).

ВОДНОЕ ХОЗЯЙСТВО

УДК 581.526.325

Ялалетдинова А. В., Еникеева Л. В., Белолипцев И. И., Вождаева М. Ю., Кантор Е. А. Оценка взаимосвязи окисляемости и расходов воды, проходящей через плотину водохранилища 16

А. В. ЯЛАЛЕТДИНОВА1, Л. В. ЕНИКЕЕВА2, И. И. БЕЛОЛИПЦЕВ3, М. Ю. ВОЖДАЕВА4, Е. А. КАНТОР5

1 Ялалетдинова Алина Венеровна, инженер кафедры «Физика», Уфимский государственный нефтяной технический университет

450062, Россия, Республика Башкортостан, г. Уфа, ул. Космонавтов, 1, тел.: (347) 242-07-18, e-mail: hawk22.89@mail.ru

2 Еникеева Лениза Васимовна, ассистент кафедры «Математика», Уфимский государственный нефтяной технический университет»

450062, Россия, Республика Башкортостан, г. Уфа, ул. Космонавтов, 8, тел.: (347) 242-87-15, e-mail: leniza.enikeeva@gmail.com

3 Белолипцев Илья Игоревич, кандидат технических наук, доцент кафедры «Математика и информатика», Уфимский филиал Финансового университета при Правительстве Российской Федерации

450015, Россия, Республика Башкортостан, г. Уфа, ул. Мустая Карима, 69/1, тел.: (347) 251-08-23, e-mail: IIBeloliptsev@fa.ru

4 Вождаева Маргарита Юрьевна, доктор химических наук, профессор кафедры «Нефтехимия и химическая технология», Уфимский государственный нефтяной технический университет»; начальник отдела мониторинга органических загрязнителей воды Центральной химико-бактериологической лаборатории, МУП «Уфаводоканал»

450062, Россия, Республика Башкортостан, г. Уфа, ул. Космонавтов, 1, тел.: (347) 242-95-79, e-mail: vozhdaeva@mail.ru

5 Кантор Евгений Абрамович, доктор химических наук, профессор, заведующий кафедрой «Физика», Уфимский государственный нефтяной технический университет

450062, Россия, Республика Башкортостан, г. Уфа, ул. Космонавтов, 1, тел.: (347) 242-07-18, e-mail: evgkantor@mail.ru

Приведены результаты исследований временнóй изменчивости окисляемости воды в реке Уфе. Работа заключалась в определении плотности распределения исследуемых величин, вычислении вероятности появления неблагоприятных условий, связанных с ухудшением качества воды по исследуемым параметрам, и поиске зависимости между показателями и расходами воды. Окисляемость в реке Уфе в паводковые периоды формируется в меньшей степени за счет смыва органического вещества с водосборной территории и в большей степени определяется качеством воды водохранилища и органическими веществами, содержащимися в донных отложениях. Найдена плотность распределения этого показателя, оценена вероятность наступления неблагоприятных условий (паводки и половодья), сопровождающихся ухудшением качества воды по окисляемости. Определено, что распределение вероятностей окисляемости имеет хвостовую часть, смещенную в сторону больших значений показателя, и показывает, что в неблагоприятные периоды окисляемость превышает 5 мг/дм3. Плотность распределения хвостовой части показателя аппроксимируется степенной зависимостью ρ1(О) = 337681·О–6,96 (R2 = 0,92). Установлено, что при наступлении неблагоприятных событий (паводки и половодья), отмечаемая в реке окисляемость не превысит заданного уровня (11 мг/л) с вероятностью 97%. Показано, что в периоды паводка расходы воды в реке, превышающие 450 м3/с, способствуют росту значений окисляемости. Найдена зависимость, выраженная в виде уравнения, между ростом значений окисляемости и расходами воды, проходящей через плотину. Средняя ошибка прогноза составила 16%.

Ключевые слова: водохранилище, расход воды, окисляемость, плотность распределения, вероятность распределения, квантили распределения.

СПИСОК ЛИТЕРАТУРЫ

- Ялалетдинова А. В., Еникеева Л. В., Вождаева М. Ю., Кантор Е. А. Статистические характеристики взаимосвязи мутности и расходов воды в реке, вызванных попусками водохранилища // Теоретическая и прикладная экология. 2018. № 1. С. 33–42.

- Архипова Н. А., Кочарян А. Г., Лебедева И. П., Сафронова К. И. Оценка изменения химического состава вод в зарегулированных речных системах: Материалы Международного конгресса «Вода: экология и технология» – «ЭКВАТЭК–2002». – М., 2002.

- Авакян А. Б., Кочарян А. Г., Малютин А. Н., Марголина Г. Л. Оценка роли водохранилищ в изменении качества речных вод // Водные ресурсы. 1988. № 3. С. 5–16.

- Долгоносов Б. М., Власов Д. Ю., Дятлов Д. В., Сураева Н. О., Григорьева С. В., Корчагин К. А. Статистические характеристики изменчивости качества воды, поступающей на водопроводную станцию // Инженерная экология. 2004. № 3. С. 2–20.

- Долгоносов Б. М., Корчагин К. А. Статистическая оценка взаимосвязи расхода воды в реке и ее мутности в водозаборных сооружениях // Водные ресурсы. 2005. Т. 32. № 2. С. 196–204.

- Романовская С. Л., Кантор Л. И., Кантор Е. А., Хабибуллин Р. Р. Зависимость качества воды реки Уфа от качества воды Павловского водохранилища и сезонности // Башкирский химический журнал. 2003. Т. 10. № 3. С. 84–87.

- Харабрин А. В., Харабрин С. В., Кантор Л. И., Кантор Е. А., Клявлин М. С. Об изменении мутности, цветности, перманганатной окисляемости и рН воды реки Уфы // Башкирский химический журнал. 2003. Т. 10. № 3. С. 80–81.

- Раткович Д. Я., Выручалкина Т. Ю., Соломонова И. В. Изменение режима колебаний речного стока при его регулировании // Водные ресурсы. 2003. Т. 30. № 2. С. 133–141.

- Харабрин А. В., Харабрин С. В., Кантор Л. И., Кантор Е. А., Клявлин М. С. Сопоставление показателей качества воды реки Уфа по мутности, цветности, окисляемости и рН в створах городских водозаборов // Башкирский химический журнал. 2003. Т. 10. № 3. С. 82–83.

- Якушев А. А., Горбатков С. А., Габдрахманова Н. Т. Многомерные статистические методы и нейросетевые модели в экономическом анализе. – Уфа: Издательский центр «Башкирский территориальный институт профессиональных бухгалтеров», 2001. 266 с.

- Жигалова А. В., Кантор И. В., Вождаева М. Ю., Кантор Е. А. Влияние попусков Павловского водохранилища на общую жесткость и окисляемость в створах водозаборов города Уфы: Материалы XIХ Международной молодежной научно-практической конференции «Научные исследования и разработки молодых ученых» (под общей редакцией Чернова С. С.). – Новосибирск: Издательство Центра развития научного сотрудничества, 2017. С. 71–74.

WATER INDUSTRY

Ialaletdinova A. V., Enikeeva L. V., Beloliptsev I. I., Vozhdaeva M. Iu., Kantor E. A. Estimation of the correlation between oxidizability and water flow rate while passing through the water storage reservoir dam 16

A. V. IALALETDINOVA1, L. V. ENIKEEVA2, I. I. BELOLIPTSEV3, M. Iu. VOZHDAEVA4, E. A. KANTOR5

1 Ialaletdinova Alina Venerovna, Engineer, «Physics» Chair, Ufa State Technical University of Petroleum

1 Kosmonavtov St., 450062, Ufa, Republic of Bashkortostan, Russian Federation, tel.: +7 (347) 242-07-18, e-mail: hawk22.89@mail.ru

2 Enikeeva Leniza Vasimovna, Teaching Assistant, «Mathematics» Chair, Ufa State Technical University of Petroleum

8 Kosmonavtov St., 450062, Ufa, Republic of Bashkortostan, Russian Federation, tel.: +7 (347) 242-87-15, e-mail: leniza.enikeeva@gmail.com

3 Beloliptsev Il’ia Igorevich, Ph. D. (Engineering), Associate Professor, «Mathematics and Informatics» Chair, Ufa Affiliate of the Financial University affiliated to the RF Government

69/1 Mustaia Karima St., 450015, Ufa, Republic of Bashkortostan, Russian Federation, tel.: +7 (347) 251-08-23, e-mail: IIBeloliptsev@fa.ru

4 Vozhdaeva Margarita Iur’evna, Doctor of Chemistry, Professor, «Petrochemistry and Chemical Technology» Chair, Ufa State Technical University of Petroleum; Chief of Organic Water Pollutants Monitoring Department, Central Chemical and Bacteriological Laboratory, MUE «Ufavodokanal»

1 Kosmonavtov St., 450062, Ufa, Republic of Bashkortostan, Russian Federation, tel.: +7 (347) 242-95-79, e-mail: vozhdaeva@mail.ru

5 Kantor Evgenii Abramovich, Doctor of Chemistry, Professor, Head of «Physics» Chair, Ufa State Technical University of Petroleum

1 Kosmonavtov St., 450062, Ufa, Republic of Bashkortostan, Russian Federation, tel.: +7 (347) 242-07-18, e-mail: evgkantor@mail.ru

The results of studying temporal variability of water oxidizability in the Ufa River are presented. The work was in determining the frequency distribution of the studied values, probability of unfavorable conditions related to the deterioration of the water quality in relation to the studied parameters, and searching for the correlation between the indicators and water flow rate. The oxidizability in the Ufa River during flood periods is formed to a lesser degree by organic substances washout from the catchment basin and to a greater extent is determined by the water quality in the water storage reservoir and organic substances in the bottom deposits. The frequency distribution of this indicator has been determined; the probability of unfavorable conditions occurrence (floods and high water) accompanied by the deterioration of the water quality in relation to the oxidizability has been estimated. It was determined that the oxidizability probability distributions had a tail part shifted in the direction of larger values of the indicator and showed that during unfavorable periods the oxidizability exceeded 5 mg/dm3. The frequency distribution of the tail part of the indicator approximated by power law ρ1(О) = 337681·О–6,96 (R2 = 0,92). It was stated that upon the occurrence of unfavorable conditions (floods and high water) the oxidizability of water in the river would not exceed the preset value (11 mg/l) with probability 97%. It was shown that during flood periods the water flow in the river higher than 450 m3/s enhanced the increase of the oxidizability values. The correlation between oxidizability increase and water flow passing through the dam was determined and expressed in the form of equation. The average prediction error was 16%.

Key words: water storage reservoir, water flow rate, oxidizability, frequency distribution, distribution probability, inverted distribution.

REFERENCES

- Ialaletdinova A. V., Enikeeva L. V., Vozhdaeva M. Iu., Kantor E. A. [Statistical characteristics of the functional connection between turbidity and water flow in the river caused by releases from the storage]. Teoreticheskaia i Prikladnaia Ekologiia, 2018, no. 1, pp. 33–42. (In Russian).

- Arkhipova N. A., Kocharian A. G., Lebedeva I. P., Safronova K. I. [Estimation of chemical water composition changes in the regulated river systems]. Proceedings of «Water: Ecology and Technology» International Congress – «ECWATECH–2002». Moscow, 2002. (In Russian).

- Avakian A. B., Kocharian A. G., Maliutin A. N., Margolina G. L. [Estimation of water storage role in river water quality changes]. Vodnye Resursy, 1988, no. 3, pp. 5–16. (In Russian).

- Dolgonosov B. M., Vlasov D. Iu., Diatlov D. V., Suraeva N. O., Grigor’eva S. V., Korchagin K. A. [Statistical characteristics of quality variability of water coming to a water treatment plant]. Inzhenernaia Ekologiia, 2004, no. 3, pp. 2–20. (In Russian).

- Dolgonosov B. M., Korchagin K. A. [Statistical estimation of the functional connection between water flow in the river and its turbidity in water intakes]. Vodnye Resursy, 2005, v. 32, no. 2, pp. 196–204. (In Russian).

- Romanovskaia S. L., Kantor L. I., Kantor E. A., Khabibullin R. R. [Dependence of the Ufa River water from the water quality in the Pavlovsk water storage reservoir and seasonality]. Bashkirskii Khimicheskii Zhurnal, 2003, v. 10, no. 3, pp. 84–87. (In Russian).

- Kharabrin A. V., Karabrin S. V., Kantor L. I., Kantor E. A., Kliavin M. S. [On changes in turbidity, color, permanganate value and pH of the Ufa River water]. Bashkirskii Khimicheskii Zhurnal, 2003, v. 10, no. 3, pp. 80–81. (In Russian).

- Ratkovich D. Ia., Vyruchalkina T. Iu., Solomonova I. V. [Changes in oscillatory mode of the river flow at its regulation]. Vodnye Resursy, 2003, v. 30, no. 2, pp. 133–141. (In Russian).

- Kharabrin A. V., Karabrin S. V., Kantor L. I., Kantor E. A., Kliavin M. S. [Comparison of the parameters of the Ufa River water related to the turbidity, color, oxidizability and pH in the municipal water intake sections]. Bashkirskii Khimicheskii Zhurnal, 2003, v. 10, no. 3, pp. 82–83. (In Russian).

- Iakushev A. A., Gorbatkov S. A., Gabdrakhmanova N. T. Mnogomernye statisticheskie metody i neyrosetevye modeli v ekonomicheskom analize [Multivariable statistical methods and neural network models in economic analysis. Ufa, Bashkirskiy territorial'nyy institut professional'nykh bukhgalterov Publ., 2001, 266 p.].

- Zhigalova A. V., Kantor I. V., Vozhdaeva M. Iu., Kantor E. A. [Effect of releases from the Pavlovsk water storage reservoir on the total hardness and oxidizability in the Ufa water intake sections]. Proceedings of «Scientific research and developments of young professionals» XIХ International Scientific-Practical Conference of Young Professionals (under the general editorship of Chernov S. S.). Novosibirsk, Centre of Scientific Cooperation Publ., 2017, pp. 71–74. (In Russian).

СХЕМЫ ВОДОСНАБЖЕНИЯ И ВОДООТВЕДЕНИЯ

УДК 628.218

Чупин Р. В. Индикативное и адаптивное управление развитием систем водоснабжения и водоотведения 24

Р. В. ЧУПИН*

* Чупин Роман Викторович, кандидат технических наук, старший научный сотрудник, Институт архитектуры и строительства, Национальный исследовательский Иркутский технический университет

664074, Россия, г. Иркутск, ул. Лермонтова, 83, тел.: (925) 941-36-70, e-mail: ch-r-v@mail.ru

Переход к рыночным отношениям определил новую для России концепцию управления развитием городских инженерных систем. Эту концепцию можно представить в виде двух этапов. Первый этап – разработка схем развития системы водоснабжения и водоотведения, второй – реализация схем на основе инвестиционных программ предприятий коммунального комплекса. В инвестиционных программах формируется финансовое обеспечение развития и реконструкции систем водоснабжения и водоотведения за счет инвестиционной составляющей в тарифе, платы за подключение для вновь вводимых в эксплуатацию объектов капитального строительства и целевого финансирования по отдельным государственным и муниципальным программам, займам и кредитам. Для систем водоснабжения и водоотведения важными показателями являются: удельное водопотребление в расчете на одного жителя в сутки; утечки воды в расчете на один километр трубопровода; энергопотребление на один кубометр подаваемой или потребляемой воды; надежность, безопасность, сейсмостойкость и др. Управление индикаторами – это разработка и реализация мероприятий, направленных на улучшение или достижение определенных значений этих показателей. На основе теории индикативного планирования предлагается методика формирования вариантов развития, их оценки, выбора предпочтительного варианта в условиях неопределенности удельного водопотребления, стоимостных показателей и ограничений на инвестиции в строительство и реконструкцию систем водоснабжения и водоотведения.

Ключевые слова: системы водоснабжения и водоотведения, предприятия коммунального комплекса, методы индикативного планирования, удельное водопотребление, инвестиционная программа.

СПИСОК ЛИТЕРАТУРЫ

- Петров А. Н., Демидова Л. Г., Климов С. М., Щербаковский Г. З., Ананов Н. Г. Индикативное планирование: теория и пути совершенствования. – СПб.: Знание, 2000. 96 с.

- Чупин В. Р., Шлафман В. В. Нормирование и тарифообразование в сфере коммунальных услуг // Жилищное и коммунальное хозяйство. 2000. № 3. С. 7–11.

- Гогина Е. С., Гуринович А. Д. Применение методики LCC для оценки эффективности проектов сооружений очистки сточных вод // Водоснабжение и санитарная техника. 2016. № 9. С. 36–41.

- Чупин Р. В., Примин О. Г. Обоснование параметров новых и реконструируемых систем водоотведения в условиях неопределенности перспективного потребления воды и сброса стоков // Водоснабжение и санитарная техника. 2017. № 11. С. 36–45.

WATER SUPPLY AND WASTEWATER DISPOSAL SCHEMES

Chupin R. V. Indicative and adaptive management of the water supply and wastewater disposal system development 24

R. V. CHUPIN*

* Chupin Roman Viktorovich, Ph. D. (Engineering), Senior Research Worker, Institute of Architecture of Civil Engineering, Irkutsk National Research Technical University

83 Lermontova St., 664074, Irkutsk, Russian Federation, tel.: +7 (925) 941-36-70, e-mail: ch-r-v@mail.ru

The transition to market relations determined a new for Russia concept of public utilities management. This concept can be presented as two stages. The first stage is the elaboration of water supply and wastewater disposal development schemes; the second stage is the implementation of the scheme on the basis of investment programs of the public utilities complex. The investment programs provide for the financial support of the development and upgrade of water supply and wastewater disposal systems by means of the investment component in the tariff, connection charge for newly built capital construction projects and target financing of separate state and municipal programs, loans and credits. The important indicators of water supply and wastewater disposal systems are as follows: specific water consumption per capita per day; water leaks per one kilometer of the pipeline; power consumption per one cubic meter of supplied or consumed water; integrity, safety, seismic resistance etc. Indicator management is the development and implementation of measures directed for improving or reaching certain values of these indicators. On the basis of the indicative planning theory a method of elaborating development options, their estimation, selection of the preferred option under the conditions of the uncertainty of the specific water consumption, cost indicators and limitations on the investments into the construction and upgrade of water supply and wastewater disposal systems is proposed.

Key words: water supply and wastewater disposal systems, public utilities, indicative planning methods, specific water consumption, investment program.

REFERENCES

- Petrov A. N., Demidova L. G., Klimov S. M., Shcherbakovskii G. Z., Ananov N. G. Indikativnoe planirovanie: teoriya i puti sovershenstvovaniya [Indicative planning: theory and ways of improvement. Saint-Petersburg, Znanie Publ., 2000, 96 p.].

- Chupin V. R., Shlafman V. V. [Regulatory actions and tariff setting in public utilities field]. Zhilishchnoe i Kommunal’noe Khosiaistvo, 2000, no. 3, pp. 7–11. (In Russian).

- Gogina E. S., Gurinovich A. D. [The use of LCC method in evaluating the efficiency of investment projects of wastewater treatment facilities]. Vodosnabzhenie i Sanitarnaia Tekhnika, 2016, no. 9, pp. 36–41. (In Russian).

- Chupin R. V., Primin O. G. [Substantiation of the wastewater disposal system parameters in the context of projected water consumption and wastewater discharge uncertainty]. Vodosnabzhenie i Sanitarnaia Tekhnika, 2017, no. 11, pp. 36–45. (In Russian).

ОЧИСТКА СТОЧНЫХ ВОД

УДК 628.35:661.5

Смирнов А. В., Богатырев М. М., Иванова Ю. А. Адлерские очистные сооружения канализации 31

А. В. СМИРНОВ1, М. М. БОГАТЫРЕВ2, Ю. А. ИВАНОВА3

1 Смирнов Александр Владимирович, заместитель начальника технологического отдела, АО «МАЙ ПРОЕКТ»

115054, Россия, Москва, Б. Строченовский пер., 7, тел.: (495) 981-98-80, доб. 305, e-mail: smirnovav@myproject.msk.ru

2 Богатырев Михаил Михайлович, главный инженер, МУП города Сочи «Водоканал»

354065, Россия, Краснодарский край, г. Сочи, ул. Гагарина, 73, тел.: (938) 454-22-99, e-mail: m_bogatirev@ svdk.su

3 Иванова Юлия Александровна, главный технолог, МУП города Сочи «Водоканал»

354065, Россия, Краснодарский край, г. Сочи, ул. Гагарина, 73, тел.: (862) 254-87-96, e-mail: u_ivanova@svdk.su

Очистные сооружения канализации в г. Адлере (район Большого Сочи), одни из самых современных сооружений в России, были построены как часть олимпийской инфраструктуры. Проектирование Адлерских очистных сооружений осуществлялось на основе инновационных решений: впервые было применено 3D-проектирование; учитывались наилучшие доступные технологии; реализована система нулевой эмиссии – все сооружения накрыты герметичными укрытиями, воздух с сооружений подается на газоочистку; система утилизации осадка включает обезвоживание и сушку, что помимо снижения объема приводит к обеззараживанию осадка. Принятая проектом технологическая схема предусматривает предварительную механическую очистку сточных вод, полную биологическую очистку, доочистку и обеззараживание очищенных стоков. Для утилизации образующегося осадка предусмотрен комплекс механического обезвоживания на центрифугах с последующей дополнительной сушкой. Проектные решения, заложенные более 10 лет назад (проект 2008 г.), во многом определили пути развития современных технологий очистки и являются примером очистных сооружений, реализованных по принципам наилучших доступных технологий.

Ключевые слова: сточные воды, очистные сооружения канализации, утилизация осадка, наилучшие доступные технологии, норматив сброса.

WASTEWATER TREATMENT

Smirnov A. V., Bogatyrev M. M., Ivanova Iu. A. Wastewater treatment facilities of Adler city 31

A. V. SMIRNOV1, M. M. BOGATYREV2, Iu. A. IVANOVA3

1 Smirnov Aleksandr Vladimirovich, Deputy Chief of Process Engineering Department, «MY PROJECT» JSC

7 B. Strochenovskii Lane, 115054, Moscow, Russian Federation, tel.: +7 (495) 981-98-80, ext. 305, e-mail: smirnovav@myproject.msk.ru

2 Bogatyrev Mikhail Mikhailovich, Chief Engineer, MUE «Vodokanal» of Sochi city

73 Gagarina St., 354065, Sochi, Krasnodar Krai, Russian Federation, tel.: +7 (938) 454-22-99, e-mail: m_bogatirev@ svdk.su

3 Ivanova Iuliia Aleksandrovna, Chief Process Engineer, MUE «Vodokanal» of Sochi city

73 Gagarina St., 354065, Sochi, Krasnodar Krai, Russian Federation, tel.: +7 (862) 254-87-96, e-mail: u_ivanova@svdk.su

The wastewater treatment facilities in Adler (Greater Sochi Area), some of the most modern facilities in Russia were built as a part of the Olympic infrastructure. The Adler wastewater treatment facilities were designed on the basis of innovative solutions: for the first time 3-D engineering was applied; the best available techniques were taken into account; zero emission system was implemented – all the facilities are covered by airproof covers; the air from the facilities is supplied to the gas cleaning system; sludge handling includes dewatering and drying; consequently the amount of sludge is reduced and sludge is disinfected. The process scheme stipulated by the project includes primary mechanical treatment of wastewater, full biological treatment, tertiary treatment and effluent disinfection. The system of generated sludge utilization includes mechanical dewatering in centrifuges with subsequent additional drying. The design concept behind the project formulated more than 10 years ago (2008 project) determined the development path of the advanced treatment technologies and served as an example of the wastewater treatment facilities built according to the principle of the best available techniques.

Key words: wastewater, wastewater treatment facilities, sludge utilization, best available techniques, discharge standard.

ОЧИСТКА ПОВЕРХНОСТНОГО СТОКА

УДК 628.212.2/3

Ватин Н. И., Греков М. А., Леонов Л. В., Пробирский М. Д., Рублевская О. Н., Чечевичкин А. В., Якунин Л. А. Опыт всесезонной эксплуатации фильтра ФОПС® при очистке поверхностного стока с техногенно нагруженной селитебной территории 40

Н. И. ВАТИН1, М. А. ГРЕКОВ2, Л. В. ЛЕОНОВ3, М. Д. ПРОБИРСКИЙ4, О. Н. РУБЛЕВСКАЯ5, А. В. ЧЕЧЕВИЧКИН6, Л. А. ЯКУНИН7

1 Ватин Николай Иванович, доктор технических наук, директор Инженерно-строительного института, Санкт-Петербургский политехнический университет Петра Великого

194064, Россия, Санкт-Петербург, Политехническая ул., 29, тел.: (812) 552-79-03, e-mail: director@ice.spbstu.ru

2 Греков Михаил Александрович, главный инженер, Санкт-Петербургский политехнический университет Петра Великого

194064, Россия, Санкт-Петербург, Политехническая ул., 29, тел.: (812) 297-20-45, e-mail: disgpu@spbstu.ru

3 Леонов Леонид Владимирович, главный специалист Департамента технологического развития и охраны окружающей среды, ГУП «Водоканал Санкт-Петербурга»

191015, Россия, Санкт-Петербург, Кавалергардская ул., 42, тел.: (812) 447-92-62, e-mail: Leonov_LV@vodokanal.spb.ru

4 Пробирский Михаил Давидович, директор филиала «Водоотведение Санкт-Петербурга», ГУП «Водоканал Санкт-Петербурга»

198184, Россия, Санкт-Петербург, остров Белый, 1, тел.: (812) 713-90-06, е-mail: Probirskiy_MD@vodokanal.spb.ru

5 Рублевская Ольга Николаевна, директор Департамента технологического развития и охраны окружающей среды, ГУП «Водоканал Санкт-Петербурга»

191015, Россия, Санкт-Петербург, Кавалергардская ул., 42, тел.: (812) 438-43-45, е-mail: Rublevskaya_ON@vodokanal.spb.ru

6 Чечевичкин Алексей Викторович, генеральный директор ООО «Аква-Венчур®»

195220, Россия, Санкт-Петербург, Гражданский проспект, 22, тел.: (812) 640-08-40, e-mail: 01@6400840.ru

7 Якунин Леонид Александрович, инженер, ООО «Аква-Венчур®»

195220, Россия, Санкт-Петербург, Гражданский проспект, 22, тел.: (812) 640-08-40, e-mail: 77@6400840.ru

Селитебные территории, особенно крупных городов, в настоящее время подвергаются техногенному загрязнению, связанному с интенсивным движением транспорта, развитием организованных территорий, в том числе вблизи больших торгово-развлекательных комплексов и других массово посещаемых объектов. Для улучшения качества жизни горожан и сокращения негативного воздействия на окружающую среду особое внимание следует уделять вопросам сбора, отвода и очистки поверхностного стока с таких территорий. Целью работы по тестированию фильтра ФОПС®-МУ в течение четырех сезонов (весна – лето – осень – зима – весна) была оценка эффективности и целесообразности эксплуатации данного оборудования для очистки поверхностного стока. В процессе наблюдений установлено, что основным источником загрязнений (взвешенные вещества, нефтепродукты, железо, марганец) в поверхностном стоке с селитебных территорий является автотранспорт. Пиковые концентрации некоторых загрязнителей (железо, нефтепродукты) достигали значений 150–400 ПДК на сброс в ливневую канализацию. Всесезонная непрерывная эксплуатация (в течение 13 месяцев) фильтра ФОПС®-МУ показала высокую эффективность очистки по различным загрязнителям на протяжении всего периода испытаний без потери его штатной производительности, в том числе и после периода отрицательных температур. Достижению высоких эксплуатационных характеристик фильтра ФОПС®-МУ способствовало использование перед ним фильтра-корзины (фильтр ФОПС®-К) для сбора мусора.

Ключевые слова: селитебная территория, поверхностный сток, канализационный колодец, фильтропатрон, фильтр-корзина, эффективность очистки.

СПИСОК ЛИТЕРАТУРЫ

- Рекомендации по расчету систем сбора, отведения и очистки поверхностного стока с селитебных территорий, площадок предприятий и определению условий выпуска его в водные объекты. – М., ОАО «НИИ ВОДГЕО», 2014. 88 с.

- Anderson M., Eggen O. A. Urban contamination sources reflected in inorganic pollution in urban lake deposits, Bergen, Norway // Environmental Science: Processes & Impacts. 2015. V. 17. P. 854–867.

- Chechevichkin V., Vatin N. Megacities land drainage and land runoff features and treatment // Applied Mechanics and Materials. 2014. V. 641–642. P. 409–415.

- Мануйлов М. Б., Московкин В. М. Влияние поверхностного стока (дождевых и талых вод) на экологическую и техногенную ситуацию в городах // Вода и экология. 2016. № 2. С. 35–47.

- Городков А. В., Козоногина И. В. К исследованию и оценке состояния экосреды примагистральных территорий города по фактору автотранспортных загрязнений // Экологическая безопасность строительства и городского хозяйства. 2017. № 1 (17). С. 53–60.

- Ватин Н. И., Чечевичкин В. Н., Чечевичкин А. В. Особенности сорбционно-каталитической очистки воздуха в помещениях обитания человека в условиях крупных городов // Инженерно-строительный журнал. 2011. № 1. С. 24–27.

- Пробирский М. Д., Рублевская О. Н., Ким А. Н., Иваненко И. И. Перспективы отведения и очистки поверхностного стока в Санкт-Петербурге // Водоснабжение и санитарная техника. 2015. № 6. С. 32–40.

- Lee D. H., Kim J. H., Mendoza J. A., Lee C. H., Kang J.-H. Characterization and source identification of pollutants in runoff from a mixed land use watershed using ordination analyses // Environmental Science and Pollutant Research. 2016. V. 23. P. 9774–9790.

- Леонов Е. А., Михайлова М. С. Проблемы очистки сточных вод с поверхности автомобильных дорог на примере кольцевой автомобильной дороги вокруг Санкт-Петербурга // Жизнь и безопасность. 2002. № 3. С. 280–286.

- Пшенин В. Н., Коваленко В. И. Загрязнение ливневых стоков с автомобильных дорог // Вестник ИНЖЕКОНА. 2007. № 6 (19). С. 140–145.

- Бутянов М. С., Пшенин В. Н. Ливневые стоки с автомобильных дорог // Дорожная держава. 2013. № 48. С. 72–75.

- Li Y., Lau S.-L., Kayhanian M., Stenstrom M. Particle size distribution in highway runoff // Journal of Environmental Engineering. 2005. № 9. P. 1267–1276.

- Новикова О. К., Грузинова В. Л. Оптимизация отведения поверхностных сточных вод с учетом их состава с мостов и автомобильных дорог в природные водные объекты // Экологический вестник Северного Кавказа. 2017. Т. 13. № 4. С. 30–34.

- Чечевичкин В. Н., Ватин Н. И. Особенности состава и очистки поверхностного стока крупных городов // Инженерно-строительный журнал. 2014. № 6. С. 67–74.

- Ватин Н. И., Греков М. А., Леонов Л. В., Пробирский М. Д., Рублевская О. Н., Чечевичкин А. В., Якунин Л. А. Результаты тестовой эксплуатации фильтра ФОПС® для очистки ливневого стока с селитебной территории Санкт-Петербурга // Водоснабжение и санитарная техника. 2017. № 1. С. 58–65.

- Венецианов Т. А. Многослойные сорбционные фильтры на защите водоохранных зон автотрасс от загрязнения // Вода: химия и экология. 2012. № 12 (54). С. 32–41.

- Корчевская А. М., Чечевичкин В. Н. Характеристики сорбционного модуля гидротехнического сооружения очистки ливневых сточных вод кладбищ // Инженерно-строительный журнал. 2009. № 2. С. 43–45.

- Жмаков Г. Н. Разработка и реализация проектов очистных сооружений ливневых стоков аэропортов России // Научно-технический вестник Поволжья. 2014. № 6. С. 151–153.

- Галкин С. М., Каньковский А. А. Новые решения для сбора, очистки и сброса ливневых сточных вод // Водоснабжение и санитарная техника. 2010. № 4. С. 59–64.

- Варюшина Г. П. Повышение эффективности работы комплексов по очистке поверхностных сточных вод // Водоочистка. 2014. № 1. С. 2–28.

- Петров Е. Г., Киричевский Д. С. Сорбционная технология очистки производственных и поверхностно-ливневых стоков // Водоснабжение и санитарная техника. 2005. № 6. С. 34–36.

- Мисин В. М., Майоров Е. В. Извлечение тяжелых металлов из городских поверхностных стоков с использованием волокнистых хемосорбционных материалов // Вода: химия и экология. 2012. № 3. С. 42–47.

- Björklund K., Li L. Evaluation of low-cost materials for sorption of hydrophobic organic pollutants in stormwater // Journal of Environmental Management. 2015. № 159. Р. 106–114.

- Шувалов М. В., Стрелков А. К., Шувалов С. В., Тараканов Д. И. Разработка проекта очистных сооружений поверхностного стока города Самары // Водоснабжение и санитарная техника. 2016. № 12. С. 35–40.

- Михайлов А. В., Ким А. Н., Продоус О. А., Графова Е. О., Рублевская О. Н. Водоотведение и очистка поверхностного стока на торфяных фильтрах. – СПб.: Сборка, 2014. 134 с.

- Ватин Н. И., Панкова Г. А., Леонов Л. В., Пробирский М. Д., Рублевская О. Н., Чечевичкин А. В., Якунин Л. А. Тестовая эксплуатация фильтра ФОПС® с природным цеолитом для очистки загрязненного инфильтратом поверхностного стока // Водоснабжение и санитарная техника. 2017. № 9. С. 39–49.

- Prabhukumar G., Pagilla K. Polycyclic aromatic hydrocarbons in urban runoff – sources, sinks and treatment: A review. – Department of Civil, Architectural and Environmental Engineering, Illinois Institute of Technology, Chicago, 2010. http://www.drscw.org/dissolvedoxygen/PAHFinal.pdf (дата обращения 5.02.2018).

- Hutchinson D. Catchbasin Stormfilter performance evaluation report. – Seattle Public Utilities, Pierce County, 2012. http://www.seattle.gov/UTIL/cs/groups/public/%40spu/%40drainsew/documents/webcontent/01_016486.pdf (дата обращения 5.02.2018).

- Чечевичкин В. Н., Ватин Н. И. Экономичная очистка поверхностного стока в крупных городах // Еврострой-профи. 2015. № 78. С. 48–52.

- Чечевичкин А. В. Проектирование и применение локальных очистных сооружений поверхностного стока на основе фильтров ФОПС®. – СПб.: Любавич, 2017. 176 с.

- Пат. 138499, РФ. МПК B01D 27/02. Фильтрующий патрон / Чечевичкин А. В., Чечевичкин В. Н. // Изобретения. Полезные модели. 2014. № 8.

- Пат. 177436, РФ. МПК B01D 27/02, C02F 1/00, G01N 1/02. Фильтрующий патрон с пробоотборником / Пробирский М. Д., Рублевская О. Н., Леонов Л. В., Чечевичкин А. В., Чечевичкин В. Н. // Изобретения. Полезные модели. 2018. № 6.

- Пат. 176544, РФ. МПК B01D 27/00, E03F 5/14. Фильтрующий патрон / Чечевичкин А. В. // Изобретения. Полезные модели. 2018. № 3.

SURFACE RUNOFF TREATMENT

Vatin N. I., Grekov M. A., Leonov L. V., Probirskii M. D., Rublevskaia O. N., Chechevichkin A. V., Iakunin L. A. The experience of year-round operation of FOPS® filter in the purification of surface runoff from technologically disturbed resident areas 40

N. I. VATIN1, M. A. GREKOV2, L. V. LEONOV3, M. D. PROBIRSKII4, O. N. RUBLEVSKAIA5, A. V. CHECHEVICHKIN6, L. A. IAKUNIN7

1 Vatin Oleg Nikolaevich, Doctor of Engineering, Director, Institute of Civil Engineering, Peter the Great St. Petersburg Polytechnic University

29 Politekhnicheskaia St., 194064, Saint-Petersburg, Russian Federation, tel.: +7 (812) 552-79-03, e-mail: director@ice.spbstu.ru

2 Grekov Mikhail Aleksandrovich, Chief Engineer, Peter the Great St. Petersburg Polytechnic University

29 Politekhnicheskaia St., 194064, Saint-Petersburg, Russian Federation, tel.: +7 (812) 297-20-45, e-mail: disgpu@spbstu.ru

3 Leonov Leonid Vladimirovich, Chief Specialist, Department for Technological Development and Environmental Protection, SUE «Vodokanal of St. Petersburg»

42 Kavalergardskaia St., 191015, Saint-Petersburg, Russian Federation, tel.: +7 (812) 447-92-62, e-mail: Leonov_LV@vodokanal.spb.ru

4 Probirskii Mikhail Davidovich, Director, Wastewater Disposal Branch, SUE «Vodokanal of St. Petersburg»

1 Bely Island, 198184, Saint-Petersburg, Russian Federation, tel.: +7 (812) 713-90-06, е-mail: Probirskiy_MD@vodokanal.spb.ru

5 Rublevskaia Ol’ga Nikolaevna, Director, Department for Technological Development and Environmental Protection, SUE «Vodokanal of St. Petersburg»

42 Kavalergardskaia St., 191015, Saint-Petersburg, Russian Federation, tel.: +7 (812) 438-43-45, е-mail: Rublevskaya_ON@vodokanal.spb.ru

6 Chechevichkin Aleksei Viktorovich, General Director, «Aqua-Venture®» LLC

22 Grazhdanskii Ave., 195220, Saint-Petersburg, Russian Federation, tel.: +7 (812) 640-08-40, e-mail: 01@6400840.ru

7 Iakunin Leonid Aleksandrovich, Engineer, «Aqua-Venture®» LLC

22 Grazhdanskii Ave., 195220, Saint-Petersburg, Russian Federation, tel.: +7 (812) 640-08-40, e-mail: 77@6400840.ru

At present residential areas in big cities in particular, have been exposed to technogenic pollution related to heavy traffic, development of managed territories including areas close to big shopping and leisure centers and other crowded places. In order to improve the quality of life for the citizens and reduce the negative impact on the environment special attention shall be paid to the collection, removal and treatment of surface runoff from such territories. The purpose of testing FOPS®-MU filter during four seasons (spring – summer – autumn – winter – spring) was the assessment of the efficiency and practicability of operating this equipment for surface runoff treatment. In the process of observations it was stated that the main source of the pollution of surface runoff from resident areas (suspended solids, oil products, iron, manganese) was automobile transport. Peak concentrations of some pollutants reached 150–400 maximum permissible concentrations set for the effluent discharged into the municipal sewer. Year-round continuous operation (for 13 months) of FOPS®-MU filter showed high treatment efficiency in relation to different pollutants during the entire testing period without any loss of the operating capacity including after the negative temperature period. The high performance characteristics of FOPS®-MU filter were also promoted by using FOPS®-K filter-basket for collecting waste.

Key words: residential area, surface runoff, sewer manhole, filter cartridge, filter-basket, treatment efficiency.

REFERENCES

- Rekomendatsii po raschetu sistem sbora, otvedeniya i ochistki poverkhnostnogo stoka s selitebnykh territoriy, ploshchadok predpriyatiy i opredeleniyu usloviy vypuska ego v vodnye ob"ekty [Recommendations on calculating the systems of collection, disposal and treatment of surface runoff from residential areas, industrial sites; and determining the conditions of its discharge into water bodies. Moscow, «NII VODGEO» OJSC Publ., 2014. 88 p.].

- Anderson M., Eggen O. A. Urban contamination sources reflected in inorganic pollution in urban lake deposits, Bergen, Norway. Environmental Science: Processes & Impacts, 2015, v. 17, pp. 854–867.

- Chechevichkin V., Vatin N. Megacities land drainage and land runoff features and treatment. Applied Mechanics and Materials, 2014, v. 641–642, pp. 409–415.

- Manuilov M. B., Moskovkin M. B., Moskovkin V. M. [Surface runoff (rain and melt water) impact on the environmental and technogenic situation in cities]. Voda i Ekologiia, 2016, no. 2, pp. 35–47. (In Russian).

- Gorodkov A. V., Kozonogina I. V. [On studying and evaluating the state of eco-surroundings of city territories adjacent to highways in relation to auto pollution]. Ekologicheskaia Bezopasnost’ Stroitel’stva i Gorodskogo Khosiaistva, 2017, no. 1 (17), pp. 53–60. (In Russian).

- Vatin N. I., Chechevichkin V. N., Chechevichkin A. V. [Specific features of sorption-catalytic air cleaning in living environment in big cities]. Inzhenerno-Stroitel’nyi Zhurnal, 2011, no. 1, pp. 24–27. (In Russian).

- Probirskii M. D., Rublevskaia O. N., Kim A. N., Ivanenko I. I. [Prospects of surface runoff disposal and treatment in Saint-Petersburg]. Vodosnabzhenie i Sanitarnaia Tekhnika, 2015, no. 6, pp. 32–40. (In Russian).

- Lee D. H., Kim J. H., Mendoza J. A., Lee C. H., Kang J.-H. Characterization and source identification of pollutants in runoff from a mixed land use watershed using ordination analyses. Environmental Science and Pollutant Research, 2016, v. 23, pp. 9774–9790.

- Leonov E. A., Mihailova M. S. [The aspects of highway surface runoff treatment through the example of the belt road around Saint-Petersburg]. Zhizn’ i Bezopasnost’, 2002, no. 3, pp. 280–286. (In Russian).

- Pshenin V. N., Kovalenko V. I. [Pollution of storm highway runoff]. Vestnik INZHEKONA, 2007, no. 6 (19), pp. 140–145. (In Russian).

- Butianov M. S., Pshenin V. N. [Highway storm runoff]. Dorozhnaia Derzhava, 2013, no. 48, pp. 72–75. (In Russian).

- Li Y., Lau S-L., Kayhanian M., Stenstrom M. Particle size distribution in highway runoff. Journal of Environmental Engineering, 2005, no. 9, pp. 1267–1276.

- Novikova O. K., Gruzinova V. L. [Optimization of removing surface runoff with account of its composition from bridges and highways into the natural water bodies]. Ekologicheskii Vestnik Severnogo Kavkaza, 2017, v. 13, no. 4, pp. 30–34. (In Russian).

- Chechevichkin V. N., Vatin N. I. [Specific features of the composition and treatment of surface runoff in big cities]. Inzhenerno-Stroitel’nyi Zhurnal, 2014, no. 6, pp. 67–74. (In Russian).

- Vatin N. I., Grekov M. A., Leonov L. V., Probirskii M. D., Rublevskaia O. N., Chechevichkin A. V., Iakunin L. A. [Results of the test operation of FOPS® filter for treatment of stromwater runoff from residential areas in Saint-Petersburg]. Vodosnabzhenie i Sanitarnaia Tekhnika, 2017, no. 1, pp. 58–65. (In Russian).

- Venetsianov T. A. [Multilayer sorption filters safeguarding water protection areas of highways from pollution]. Voda: Khimiia i Ekologiia, 2012, no. 12 (54), pp. 32–41. (In Russian).

- Korchevskaia A. M., Chechevichkin V. N. [Characteristics of sorption module of hydro-engineering facilities for treatment of stormwater runoff from cemeteries]. Inzhenerno-Stroitel’nyi Zhurnal, 2009, no. 2, pp. 43–45. (In Russian).

- Zhmakov G. N. [Development and implementation of projects of stormwater runoff treatment in Russian airports]. Nauchno-Tekhnicheskii Vestnik Povolzh’ia, 2014, no. 6. pp. 151–153. (In Russian).

- Galkin S. M., Kan’kovskii A. A. [New solutions for collection, treatment and discharge of stormwater]. Vodosnabzhenie i Sanitarnaia Tekhnika, 2010, no. 4, pp. 59–64. (In Russian).

- Variushina G. P. [Improving the efficiency of surface runoff treatment facilities]. Vodoochistka, 2014, no. 1, pp. 2–28. (In Russian).

- Petrov E. G., Kirichevskii D. S. [Sorption technology of industrial and surface storm runoff treatment]. Vodosnabzhenie i Sanitarnaia Tekhnika, 2005, no. 6, pp. 34–36. (In Russian).

- Misin V. M., Maiorov E. V. [Removal heavy metals from municipal surface runoff with the use of filamentary chemosorption materials]. Voda: Khimiia i Ekologiia, 2012, no. 3, pp. 42–47. (In Russian).

- Björklund K., Li L. Evaluation of low-cost materials for sorption of hydrophobic organic pollutants in stormwater. Journal of Environmental Management, 2015, no. 159, pp. 106–114.

- Shuvalov M. V., Strelkov A. K., Shuvalov S. V., Tarakanov D. I. [Designing the project of surface runoff treatment facilities in Samara]. Vodosnabzhenie i Sanitarnaia Tekhnika, 2016, no. 12, pp. 35–40. (In Russian).

- Mikhailov A. V., Kim A. N., Prodous O. A., Grafova E. O., Rublevskaia O. N. Vodootvedenie i ochistka poverkhnostnogo stoka na torfyanykh fil'trakh [Surface runoff disposal and treatment in peat filters. Saint-Petersburg, Sborka Publ., 2014, 134 p.].

- Vatin N. I., Pankova G. A., Leonov L. V., Probirskii M. D., Rublevskaia O. N., Chechevichkin A. V., Iakunin L. A. [Test operation of FOPS® filter with natural zeolite for infiltrate polluted surface runoff treatment]. Vodosnabzhenie i Sanitarnaia Tekhnika, 2017, no. 9, pp. 39–49. (In Russian).

- Prabhukumar G., Pagilla K. Polycyclic aromatic hydrocarbons in urban runoff – sources, sinks and treatment: A review. Department of Civil, Architectural and Environmental Engineering, Illinois Institute of Technology, Chicago, 2010. http://www.drscw.org/dissolvedoxygen/PAHFinal.pdf (accessed 5.02.2018).

- Hutchinson D. Catchbasin Stormfilter performance evaluation report. Seattle Public Utilities, Pierce County, 2012. http://www.seattle.gov/UTIL/cs/groups/public/%40spu/%40drainsew/documents/webcontent/01_016486.pdf (accessed 5.02.2018).

- Chechevichkin V. N., Vatin N. I. [Cost effective municipal surface runoff treatment in big cities]. Evrostroi-Profi, 2015, no. 78, pp. 48–52. (In Russian).

- Chechevichkin A. V. Proektirovanie i primenenie lokal'nykh ochistnykh sooruzheniy poverkhnostnogo stoka na osnove fil'trov FOPS® [Designing and use of local surface runoff treatment facilities based on FOPS® filters. Saint-Petersburg, Liubavich Publ., 2017, 176 p.].

- Chechevichkin A. V., Chechevichkin V. N. [Pat. 138499, RF. IPC B01D 27/02. Filter cartridge]. Izobreteniia. Poleznye Modeli, 2014, no. 8. (In Russian).

- Probirskii M. D., Rublevskaia O. N., Leonov L. V., Chechevichkin A. V., Chechevichkin V. N. [Pat. 177436, RF. IPC B01D 27/02, C02F 1/00, G01N 1/02. Filter cartridge with a sampling probe]. Izobreteniia. Poleznye Modeli, 2018, no. 6. (In Russian).

- Chechevichkin A. V. [Pat. 176544, RF. IPC B01D 27/00, E03F 5/14. Filter cartridge]. Izobreteniia. Poleznye Modeli, 2018, no. 3. (In Russian).

НОВЫЕ ТЕХНОЛОГИИ И ОБОРУДОВАНИЕ

Цифровые технологии для повышения эффективности работы насосного оборудования 52

ADVANCED TECHNOLOGIES AND EQUIPMENT

Digital technologies for improving the efficiency of pumping equipment operation 52

ЗА РУБЕЖОМ

УДК 628.116

Кофман В. Я. Дождевая вода в системе городского водоснабжения
(обзор) 57

В. Я. КОФМАН*

* Кофман Владимир Яковлевич, старший научный сотрудник, Всероссийский институт научной и технической информации Российской академии наук

125190, Россия, Москва, ул. Усиевича, 20, тел.: (499) 155-43-08, e-mail: kofman16@mail.ru

В странах с дефицитом водных ресурсов дождевая вода служит альтернативным источником водоснабжения на протяжении многих лет. В настоящее время на современном техническом уровне осуществляется сбор, очистка и использование дождевой воды не только в хозяйственно-бытовых целях (туалетах, стиральных машинах), для ирригации и ландшафтных работ, но также и для питьевого водопотребления. При этом преодоление дефицита водных ресурсов не является единственной причиной, побуждающей развивать системы сбора и использования дождевой воды. Во многих странах, имеющих значительны запасы водных ресурсов, системы сбора и использования дождевой воды рассматривают в качестве процессов, призванных обеспечить устойчивую работу системы городской канализации за счет уменьшения и выравнивания частоты, пиков и объемов поступающих в нее ливневых сточных вод. Разветвление и увеличение объемов системы задержания ливневых сточных вод за счет использования резервуаров сбора дождевой воды позволяют снизить давление на ливневую канализацию и уменьшить антропогенное воздействие на водотоки – приемники сточных вод. Данный подход в рамках концепции развития водного хозяйства города на основе децентрализованной обработки различных видов стоков находится в одном ряду со схемами обработки и повторного использования серых и черных сточных вод.

Ключевые слова: дождевая вода, система сбора, химическое загрязнение, микробиологическое загрязнение, хозяйственно-бытовое водоснабжение, ливневая канализация.

ABROAD

Kofman V. Ia. Rainwater in municipal water supply systems
(a review) 57

V. Ia. KOFMAN*

* Kofman Vladimir Iakovlevich, Senior Research Fellow, All-Russian Institute of Scientific and Technical Information, Russian Academy of Sciences

20 Usuevicha St., 125190, Moscow, Russian Federation, tel.: +7 (499) 155-43-08, e-mail: kofman16@mail.ru

In countries that suffer from the scarcity of water resources rainwater has been an alternative water supply source for many years. At present rainwater collection, purification and use for domestic purposes (in toilets, laundry washers), for irrigation and landscape improvement, and also for drinking water supply is carried up to the state-of-the art. Herewith coping with the water resources scarcity is not the sole reason that stimulates the development of rainwater collection and use systems. In many countries well off for water resources the systems of rainwater collection and use are considered as the processes that provide for the sustainable operation of the municipal sewerage by reducing and equalizing the frequency, peaks and volumes of storm water entering it. Branching and increasing the capacity of storm water sewers by the use of rainwater retention tanks provide for the reduction of the storm sewer loading and anthropogenic impact on the water bodies that receive effluents. This approach within the frames of the water industry development concept based on the decentralized processing of different wastewater types is on a par with the schemes of grey and black wastewater treatment and reuse.

Key words: rainwater, collection system, chemical pollution, microbiological pollution, public water supply, storm sewer.

REFERENCES

- Helmerich B., Horn H. Opportunities in rainwater harvesting. Desalination, 2009, v. 248, pp. 118–124.

- Burns M. J., Fletcher T. D., Duncan H. P., et al. The performance of rainwater tanks for stormwater retention and water supply at the household scale: an empirical study. Hydrological Processes, 2015, v. 29, no. 1, рр. 152–160.

- Dillon P. Future management of aquifer recharge. Hydrogeology Journal, 2005, v. 13, no. 1, pp. 313–316.

- Melville-Shreeve P., Ward S., Butler D. Rainwater harvesting typologies for UK houses: a multicriteria analysis of system configurations. Water, 2016, v. 8, p. 129.

- Schuetze T. Rainwater harvesting and management – policy and regulations in Germany. Water Science and Technology, 2013, v. 13, no. 2, рр. 376–385.

- Godskesen B., Hauschild M., Rygaard M., et al. Life-cycle and freshwater withdrawal impact assessment of water supply technologies. Water Research, 2013, v. 47, no. 7, pp. 2363–2374.

- DeBusk K. M., Hunt W. F., Wright J. D. Characterizing rainwater harvesting performance and demonstrating stormwater management benefits in the humid southeast USA. Journal of American Water Resources Association, 2013, v. 49, pp. 1398–1411.

- Gomes U. A. F., Heller L., Pena J. L. A national program for large scale rainwater harvesting: an individual or public responsibility? Water Resources Management, 2012, v. 26, pp. 2703–2714.

- Lizzaraga-Mendiola L., Vazques-Rodriguez G., Blanco-Pinon A., et al. Estimating the rainwater potential per hausehold in an urban area. Water, 2015, v. 7, no. 9, pp. 4622–4637.

- Campisano A., Butler D., Ward S., et al. Urban rainwater harvesting systems: research, implementation and future perspectives. Water Research, 2017, v. 115, pp. 195–209.

- Han M. Y., Mun J. S. Operational data of the Star city rainwater harvesting system and its role as a climat change adaptation and a social influence. Water Science and Technology, 2011, v. 63, no. 12, pp. 2796–2801.

- Huston R., Chan Y. C., Gardner T., et al. Characterisation of atmospheric deposition as a sorce of contaminants in urban rainwater tanks. Water Research, 2009, v. 43, pp. 1630–1640.

- Chang M., McBroom M. W., Scott Beasley R. Roofing as a source of nonpoint water pollution. Journal of Environmental Management, 2004, v. 73, pp. 307–315.

- Kus B., Kandasamy J., Vigneswaran S., et al. Analysis of first flush to improve the water quality in rainwater tanks. Water Science and Technology, 2010, v. 61, pp. 421–428.

- Lee J. Y., Gippeum B., Han M. Quality of roof-harvested rainwater. Comparison of different roofing materials. Environmental Pollution, 2012, v. 162, pp. 422–429.

- Evans C. A., Coombes P. J., Dunstan R. H. Wind, rain and bacteria: The effect of weather on the microbial composition of roof-harvested rainwater. Water Research, 2006, v. 40, pp. 37–44.

- Albrechtsen H. J. Microbiological investigation of rainwater and greywater collected for toilet flushing. Water Science and Technology, 2002, v. 46, pp. 311–316.

- Gee K., Hunt W. Enhancing stormwater management benefits of rainwater harvesting via innovative technologies. Journal of Environmental Engineering, 2016, v. 142, no. 8, рр. 217–225.

- Sung M., Kan C. C., Wan M. W., et al. Rainwater harvesting in schools in Taiwan: system characteristic and water quality. Water Scirnce and Technology, 2010, v. 61, pp. 1767–1778.

- Abbasi T., Abbasi S. A. Source of pollution in rooftop rainwater harvesting systems and their control. Critical Reviews Environmental Science and Technology, 2011, v. 41, pp. 2097–2167.

- Stefanescu C., Beilicci E., Beilicci R. The new technologies of rainwater utilisation. Scientific Bulletin of the «POLITECHNICA», University of Timisoara, 2013, v. 58, no. 2, pp. 173–177.

- Domenech L., Sauri D. A comparative apprisal of the use of rainwater harvesting in single and multi-family building of the Metropolian area of Barcelona (Spain): social experience, drinking water savings and economic costs. Journal of Clean Production, 2011, v. 19, no. 6–7, pp. 598–608.

- Khastagir A., Jayasuriya N. Investment evaluation of rainwater tanks. Water Resources Management, 2011, v. 25, pp. 3769–3784.